# HONEYTAK Refrigerated Container

Honeytak can supply new and used refrigerated shipping containers.

These shipping containers are used for temperature control, particularly with freezer and chiller cargo and come in various sizes to suit your needs.

All of our brand new reefers shipping containers are built to the highest specifications and come with the most modern temperature control technology.

New and Used Reefer shipping containers. High quality specifications to ensure strength and maximum rust protection. Fully wind/water tight and securable. ISO standards suitable for transport via road, rail and sea. Equipped with Forklift Pockets for easy handling.

Following are some examples:



SPECIFICATIONS FOR Refrigerated Container

| Ratings | 20' Standard Reefers | 40' High Cube Reefers |
| --- | --- | --- |
| **Maximum Gross Weight** | 30,480 kg (67,200 lb.) | 35,000 kg (77,160 lb.) |
| Tare Weights: | | |
| **excluding reefer unit** | 2,600 kg (5,732 lb.) | 4,180 kg (9,220 lb.) |
| **with Carrier PrimeLINE** | 3,030 kg (6,680 lb.) | 4,600 kg (10,140 lb.) |
| **with Carrier ThinLINE** | 3,130 kg (6,900 lb.) | 4,710 kg (10,380 lb.) |
| **with Daikin** | 3,060 kg (6,750 lb.) | 4,640 kg (10,230 lb.) |
| **with Thermo King Magnum** | 3,010 kg (6,640 lb.) | 4,600 kg (10,140 lb.) |
| Max. Payloads: | | |
| **with Carrier PrimeLINE** | 27,450 kg (60,520 lb.) | 30,400 kg (67,020 lb.) |
| **with Carrier ThinLINE** | 27,350 kg (60,296 lb.) | 30,290 kg (66,780 lb.) |
| **with Daikin** | 27,420 kg (60,450 lb.) | 30,360 kg (66,930 lb.) |
| **with Thermo King Magnum** | 27,470 kg (60,560 lb.) | 30,400 kg (67,020 lb.) |
| **Internal Cubic Capacity** | 28.4 cu.m (1,005 cu.ft) | 67.9 cu.m (2,400 cu.ft) |
| **Stacking Test Load** | 102,375 kgs/post (225,690 lbs/post) | 102,375 kgs/post (225,690 lbs/post) |
| **Heat Leakage, U-Value** | Max. 22 kcal/h°C | Max. 35 kcal/h°C |
| **Air Leakage** | 3.5m/h(at 25.4 mm H20) | 3.5m/h(at 25.4 mm H20) |
| External Dimensions | | |
| **Length** | 6,058 mm (19'-10 1/2") | 12,192 mm (40'-0") |
| **Width** | 2,438 mm (8'-0") | 2,438 mm (8'-0") |
| **Height** | 2,591 mm (8'-6 0/10") | 2,896 mm (9'-6 0/10") |
| Internal Dimensions | | |
| **Length** | 5,456 mm (17'-10 13/16") | 11,590 mm (38'-0 5/16") |
| **Width** | 2,290 mm (7'-6 3/16") | 2,290 mm (7'-6 3/16") |
| **Height** | 2,276 mm (7'-5 11/16") | 2,557 mm (8'-4 11/16") |
| Door Opening | | |
| **Width** | 2,290 mm (7'-6 3/16") | 2,290 mm (7'-6 3/16") |  |
| **Height** | 2,264 mm (7'-5 1/8") | 2,569 mm (8'-5 3/16") |  |
| **Cargo Access Height** | 2,224 mm (7'-3 9/16") | 2,506 mm (8'-2 11/16") |  |
| External Cladding | | |  |  |
| **Side** | MGSS 1.0/1.2 mm | MGSS 1.0/1.2 mm |  |  |
| **Roof** | MGSS 0.8 mm | MGSS 0.8 mm |  |  |
| **Base** | MGSS 1.2 mm | MGSS 1.0 mm |  |  |
| **Door** | MGSS 1.6 mm | MGSS 1.6 mm |  |  |
| Internal Cladding | | |  |  |
| **Side** | HGSS 0.7 mm | HGSS 0.7 mm |  |  |
| **Roof** | P.P white AI. 0.8 mm | P.P white AI. 0.8 mm |  |  |
| **Base** | 40 mm high AI. T-floor | 63.5 mm high AI. T-floor |  |  |
| **Door** | HGSS 0.7 mm | HGSS 0.7 mm |  |  |
| Frames | | |  |  |
| **Front Corner Posts** | Outer: Corten 6.0 mm;  Inner Corten 3.0 mm | Outer: Corten 6.0 mm;  Inner Corten 8.0 mm |  |  |
| **Rear Corner Posts** | Outer: Corten 6.0 mm;  Inner Corten 3.0 mm | Outer: Corten 6.0 mm;  Inner Corten 8.0 mm |  |  |
| **End Rails** | Corten 4.0 mm | Corten 4.0 mm |  |  |
| **Side Top Rail** | Corten 4.0 mm | Corten 4.0 mm |  |  |
| **Side Bottom Rail** | Corten 4.0 mm | Corten 4.0 mm |  |  |